SECTION A: RESPONDENT INFORMATION

| 1. Position/Job Role | Electrical/Electronic Engineer (sample response) |
| --- | --- |
| 2. Years of experience | 7–10 years |
| 3. Department/Unit | Utilities & Refrigeration |
| 4. Type of industry/company | Food Processing / Dairy and Yoghurt Manufacturing |
| 5. How often do you interact with the machine? | Several times a week |

SECTION B: MACHINE IDENTIFICATION AND GENERAL INFORMATION

| 1. Machine name/type | Refrigeration Compressor / Chiller Unit |
| --- | --- |
| 2. Machine identification/asset number | HOL-YG-REF-01 (sample asset ID – verify from plant asset register) |
| 3. Manufacturer | Imported refrigeration OEM (sample) |
| 4. Model number | RC-250 (sample) |
| 5. Serial number | SN-2011-0098 (sample) |
| 6. Date/year of manufacture | 2011 |
| 7. Date/year installed/commissioned | 2012 |
| 8. Age | 11–15 years |
| 9. Locally manufactured or imported? | Imported |
| 10. Main function | Provides chilled water/glycol for cooling duties and keeps cold rooms at storage temperature. |
| 11. Normal operating capacity | About 250 kW cooling capacity (representative; verify plant record) |
| 12. Normal operating hours per day | More than 16 hours (continuous operation; verify plant record) |
| 13. Operating days per week | 7 days (continuous; verify plant schedule) |

SECTION C: MACHINE OPERATING PARAMETERS

| Parameter | Monitored? | How measured / typical observation |
| --- | --- | --- |
| Temperature | Yes | Compressor discharge temperature sensor; read on panel/PLC |
| Vibration | Yes | Portable or installed vibration sensor during condition checks |
| Pressure | Yes | Suction and discharge pressure gauges |
| Speed/RPM | Yes | Compressor drive display |
| Voltage | Yes | Panel voltmeter / PLC monitoring |
| Current | Yes | Panel ammeter / drive current display |
| Power consumption | Yes | Energy meter / drive data |
| Oil level | Yes | Sight glass on gearbox/crankcase |
| Oil pressure | Yes | Lubrication pressure gauge |
| Fuel consumption | No | Not applicable – electric machine |
| Hydraulic pressure | No | No hydraulic subsystem fitted |
| Noise/sound | Yes | Operator listening; acoustic sensor can be added |
| Load | Yes | Compressor load/unload % on controller |
| Flow rate | No | Not monitored on this machine |
| Other | Yes | Suction/discharge pressure, oil pressure, glycol temperature |

| 2. Normal operating temperature | About 75 °C (compressor discharge temperature sensor) |
| --- | --- |
| 3. Temperature at which abnormal behaviour begins | About 95 °C |
| 4. Normal operating speed/RPM | 1,450 RPM (compressor motor) |
| 5. Normal operating pressure | Suction about 2 bar / discharge about 14 bar (refrigerant) |
| 6. Normal vibration level, if known | Not measured routinely; about 4.5 mm/s RMS expected for a healthy machine – investigate a sustained rise above baseline. |
| 7. Other important machine parameters | Suction/discharge pressure, oil pressure, glycol temperature. |
| 8. Are parameters recorded electronically? | Yes – Chiller controller / PLC. |
| 9. If yes | Sensors + PLC/HMI; logbook for major observations. |

SECTION D: MACHINE MAINTENANCE PRACTICES

| 1. Main maintenance type | Combination (preventive + condition-based) |
| --- | --- |
| 2. Routine maintenance frequency | Weekly; major service per manufacturer/plant schedule |
| 3. Recommended service interval | 4,000 operating hours |
| 4. Date of last major service | 15 July 2026 (sample) |
| 5. Date of next scheduled service | 15 January 2027 (sample) |
| 6. Maintenance activities | Oil analysis and change; filter replacement; vibration check; leak check; electrical and controller checks. |
| 7. Who performs maintenance? | External technician / manufacturer |
| 8. Is a maintenance logbook kept? | Yes |
| 9. Are previous machine faults recorded? | Often |
| 10. Usefulness of maintenance history for diagnosis | Very useful |

SECTION E: MACHINE FAILURE AND FAULT HISTORY

| 1. Has the machine experienced a major failure? | Yes (sample response) |
| --- | --- |
| 2. Fault frequency | Occasionally (representative response; verify actual maintenance records) |
| 3. Most common faults | Compressor bearing wear; oil pressure drop; refrigerant leaks; contactor faults. |
| 4. Component that fails most frequently | Compressor bearings |
| 5. Date of most recent failure | 09 June 2026 (sample) |
| 6. Cause of most recent failure, if known | Bearing wear from continuous running. |
| 7. Downtime after failure | 9–24 hours |
| 8. Action taken to restore the machine | Bearings replaced, oil changed, pressures and amps verified. |
| 9. Was the failure predictable? | Yes |
| 10. Warning signs observed | Rising vibration and discharge temperature, oil pressure drop, louder noise. |

SECTION F: MACHINE BEHAVIOUR BEFORE FAILURE

| 1. Does the machine show warning signs before a fault? | Often |
| --- | --- |
| 2. Warning signs observed | Excessive vibration; increased temperature; unusual noise; pressure changes; oil pressure drop. |
| 3. How long before failure do warning signs appear? | Several days |
| 4. Earliest indication of a developing fault | Slow rise in vibration and discharge temperature. |
| 5. Most reliable indication of impending failure | Vibration rise together with oil pressure drop. |
| 6. Can an experienced operator detect an upcoming fault through observation? | Sometimes |
| 7. What does the operator normally observe? | Noise, vibration, oil level, temperature, pressure readings. |

SECTION G: MACHINE SOUND AND NOISE BEHAVIOUR

| 1. Does the machine produce a different sound when developing a fault? | Yes |
| --- | --- |
| 2. Abnormal sound | Grinding; knocking; squealing; increased general noise |
| 3. Component producing abnormal sound | Compressor bearings and motor |
| 4. Describe the normal machine sound | Steady compressor drone. |
| 5. Describe the sound immediately before failure | Harsh grinding and rising pitch. |
| 6. Does the abnormal sound increase gradually? | Yes |
| 7. Can an experienced operator identify a fault from sound? | Yes |
| 8. Usefulness of automatic sound monitoring | Very useful |

SECTION H: VISUAL AND PHYSICAL MACHINE CHANGES

| Observation | Frequency |
| --- | --- |
| Excessive vibration | Often |
| Increased temperature | Often |
| Oil leakage | Sometimes |
| Smoke | Rarely |
| Burning smell | Sometimes |
| Unusual noise | Often |
| Reduced speed | Sometimes |
| Reduced output | Sometimes |
| Increased energy consumption | Often |
| Irregular movement | Rarely |
| Frequent machine stoppage | Sometimes |

SECTION I: FAULT DETECTION AND DIAGNOSIS

| 1. Fault detection method | Sensors; controller alarms; technician diagnosis |
| --- | --- |
| 2. Fault cause determination | Sensor readings; diagnostic software; manufacturer support |
| 3. Normal diagnosis time | 1–3 hours |
| 4. Challenges | Skilled-personnel availability; lack of historical data. |

SECTION J: USE OF SENSORS AND SMART MONITORING

| 1. Does the machine have condition-monitoring sensors? | Yes – pressure, temperature, current, vibration |
| --- | --- |
| 2. Sensor types | Temperature; pressure; vibration; current; oil pressure |
| 3. Are sensor readings stored for future analysis? | Yes – controller log |
| 4. Measurement frequency | Continuously |
| 5. Would the company be willing to use sensors for continuous machine-health monitoring? | Yes |

SECTION K: PREDICTIVE MAINTENANCE EXPERT SYSTEM

| 1. Does the company currently use a predictive maintenance system? | No |
| --- | --- |
| 2. Would an intelligent system that predicts possible failure be useful? | Very useful |
| 3. Information the system should monitor | Temperature; pressure; vibration; current; oil pressure; operating hours; fault history. |
| 4. Preferred alert | Combination (dashboard, SMS, sound alarm) |
| 5. Preferred warning time | Several days |
| 6. Would you trust automated maintenance recommendations? | Only with human confirmation |
| 7. Final maintenance decision should be made by | System recommendation + human approval |

SECTION L: EDGE-BASED MONITORING

| 1. Prefer data processed locally near machine? | Yes |
| --- | --- |
| 2. Advantages | Continuous monitoring; reduced internet dependence; faster response. |
| 3. Internet/network reliability | Reliable |
| 4. Should the system continue when internet is unavailable? | Yes – local edge processing should continue and synchronise data when connectivity returns. |

SECTION M: MAINTENANCE RECORD DATA – SAMPLE ENTRIES

| Date | Parameter / Observation | Fault Suspected | Cause | Maintenance Done | Parts Replaced | Downtime |
| --- | --- | --- | --- | --- | --- | --- |
| 09 / 06 / 2026 | Vibration rising, oil pressure low | Bearing wear | Continuous running | Bearings replaced, oil changed | Compressor bearings | 14 h |
| 22 / 02 / 2026 | Compressor trips on start | Contactor fault | Worn contacts | Contactor replaced | Contactor | 3 h |

SECTION N: OVERALL ASSESSMENT

Scale: SA = Strongly Agree; A = Agree; U = Undecided; D = Disagree; SD = Strongly Disagree.

| Statement | Rating |
| --- | --- |
| Machine failures can often be detected before complete breakdown. | SA |
| Machine operating parameters are useful for predicting faults. | SA |
| Machine sound can provide information about machine health. | SA |
| Maintenance history is important for predicting future faults. | SA |
| Preventive maintenance reduces unexpected machine breakdown. | SA |
| Continuous machine monitoring would improve maintenance activities. | SA |
| An intelligent predictive maintenance system would reduce machine downtime. | SA |
| Sensor-based monitoring would improve fault detection. | SA |
| Automated alerts would help maintenance personnel respond faster. | SA |
| An edge-based system would be useful in an industrial environment. | SA |

SECTION O: OPEN-ENDED QUESTIONS

| 1. Most common causes of machine failure | Bearing wear, oil pressure loss, refrigerant leaks, contactor faults. |
| --- | --- |
| 2. Changes observed before serious fault | Vibration and discharge temperature rise, oil pressure falls. |
| 3. Sounds indicating developing fault | Grinding or squealing from compressor bearings. |
| 4. Most useful parameters for predicting failure | Vibration, discharge temperature, oil pressure, current. |
| 5. Challenges with current maintenance system | Skilled-personnel availability, long diagnosis for complex faults. |
| 6. Desired predictive maintenance system features | Continuous monitoring, fault prediction, alarm prioritization. |
| 7. Other information useful for the expert system | Ambient temperature and condenser cleanliness affect load and wear. |